## Sheet1
9 Point Dose Response Input File
Instructions: Please fill out the following sheet with compound information. The highest assay concentration must be lower than 1% of your highest stock concentration. The dilution factor must not stretch the DR below the lowest possible concentration
Amanda Paulson |  | <- your name for file saving
yes | <- (yes/no) Are any of your samples dissolved in DMSO? If not, you may delete "Solv Corr" from the following sample list and include compounds for analysis in their place.
5 | <- (0 or 1 to 5.5) What percentage of DMSO do you want in the assay running buffer? Put "0" if your samples don’t contain DMSO.
23 | <- (1 to 24) Indicate the column in the source plate that contains 60uL DMSO or Assay Buffer for backfilling into Plate 1. For each destination row containing samples, there should be a well in a PP Source Plate that contains 60uL of DMSO or Assay Buffer. For example, if you want compounds dispensed into Rows A and B of Plate 1, and you have Column 4 on your source plate avaialble, add 60uL of solution to A4 and B4.
24 | <- (1 to 24) Indicate the column in the source plate that contains 60uL DMSO or Assay Buffer for backfilling into Plate 2.
Compound Information
Plate | Channel | Dest Row | Sample | Sample Name | MW (Da) | SMILES (optional) | Stock Conc (uM) | Plate Type (LDV or PP) | High Conc Location | Diluted Stock (2:800) Location | Highest Assay Conc (uM) | Dilution Factor | Expected Lowest Conc (uM) | Lowest Possible Conc (uM)
1 | 1 | A | 1 | Solv Corr
1 | 1 | A | 2 | Comp1 | 111 |  | 10000 | PP | J1 | J2 | 100 | 3 | 0.015242 | 0.000625
1 | 1 | B | 3 | Comp2 | 222 |  | 10000 | PP | K1 | K4 | 100 | 4 | 0.0015259 | 0.000625
1 | 1 | B | 4 | Comp3 | 333 |  | 5000 | LDV | M2 | M4 | 10 | 2 | 0.039062 | 0.0003125
1 | 2 | C | 5 | Solv Corr
1 | 2 | C | 6 | Comp4 | 444 |  | 10000 | PP | A1 | A2 | 100 | 4 | 0.0015259 | 0.000625
1 | 2 | D | 7 | Comp5 | 555 |  | 10000 | PP | B1 | B2 | 100 | 1.3333 | 10.0113 | 0.000625
1 | 2 | D | 8 | Comp6 | 666 |  | 10000 | PP | C1 | C2 | 10 | 2 | 0.039062 | 0.000625
1 | 3 | E | 9 | Solv Corr
1 | 3 | E | 10 | Comp7 | 777 |  | 10000 | PP | D1 | D2 | 1 | 2 | 0.0039062 | 0.000625
1 | 3 | F | 11 | Comp8 | 888 |  | 10000 | PP | E1 | E2 | 0.1 | 1.8 | 0.00090744 | 0.000625
1 | 3 | F | 12 | Comp9 | 999 |  | 10000 | PP | F1 | F2 | 0.001 | 1.01 | 0.00092348 | 0.000625
1 | 4 | G | 13 | Solv Corr
1 | 4 | G | 14 | Comp10 | 1110 |  | 10000 | PP | H1 | H2 | 100 | 4 | 0.0015259 | 0.000625
1 | 4 | H | 15
1 | 4 | H | 16 | Comp12 | 1112 |  | 10000 | PP | I1 | I2 | 100 | 4 | 0.0015259 | 0.000625
1 | 5 | I | 17 | Solv Corr
1 | 5 | I | 18
1 | 5 | J | 19
1 | 5 | J | 20
1 | 6 | K | 21 | Solv Corr
1 | 6 | K | 22
1 | 6 | L | 23
1 | 6 | L | 24
1 | 7 | M | 25 | Solv Corr
1 | 7 | M | 26 | Comp13 | 1113 |  | 9000 | LDV | L1 | L2 | 90 | 4 | 0.0013733 | 0.0005625
1 | 7 | N | 27 | Comp14 | 1114 |  | 10000 | PP | N1 | N2 | 100 | 4 | 0.0015259 | 0.000625
1 | 7 | N | 28 | Comp15 | 1115 |  | 10000 | PP | O1 | O2 | 100 | 4 | 0.0015259 | 0.000625
1 | 8 | O | 29 | Solv Corr
1 | 8 | O | 30
1 | 8 | P | 31
1 | 8 | P | 32
2 | 1 | A | 25 | Comp16 | 1116 |  | 10000 | PP | P1 | P2 | 100 | 4 | 0.0015259 | 0.000625
2 | 1 | A | 26 | Comp17 | 1117 |  | 10000 | PP | A4 | A5 | 100 | 4 | 0.0015259 | 0.000625
2 | 1 | B | 27 | Comp18 | 1118 |  | 10000 | PP | B4 | B5 | 100 | 4 | 0.0015259 | 0.000625
2 | 1 | B | 28 | Comp19 | 1119 |  | 10000 | PP | C4 | C5 | 100 | 4 | 0.0015259 | 0.000625
2 | 2 | C | 29 | Comp20 | 1120 |  | 10000 | PP | E4 | E5 | 100 | 4 | 0.0015259 | 0.000625
2 | 2 | C | 30 | Comp21 | 1121 |  | 10000 | PP | F4 | F5 | 100 | 4 | 0.0015259 | 0.000625
2 | 2 | D | 31 | Comp22 | 1122 |  | 10000 | PP | G4 | G5 | 100 | 4 | 0.0015259 | 0.000625
2 | 2 | D | 32 | Comp23 | 1123 |  | 10000 | PP | H4 | H5 | 100 | 4 | 0.0015259 | 0.000625
2 | 3 | E | 33 | Comp24 | 1124 |  | 10000 | PP | I4 | I5 | 100 | 4 | 0.0015259 | 0.000625
2 | 3 | E | 34 | Comp25 | 1125 |  | 10000 | PP | L4 | L5 | 100 | 4 | 0.0015259 | 0.000625
2 | 3 | F | 35 | Comp26 | 1126 |  | 10000 | PP | N4 | N5 | 100 | 4 | 0.0015259 | 0.000625
2 | 3 | F | 36 | Comp27 | 1127 |  | 10000 | PP | O4 | O5 | 100 | 4 | 0.0015259 | 0.000625
2 | 4 | G | 37 | Comp28 | 1128 |  | 10000 | PP | P4 | P5 | 100 | 4 | 0.0015259 | 0.000625
2 | 4 | G | 38 | Comp29 | 1129 |  | 10000 | PP | A6 | A7 | 100 | 4 | 0.0015259 | 0.000625
2 | 4 | H | 39
2 | 4 | H | 40 | Comp31 | 1131 |  | 10000 | PP | C6 | C7 | 100 | 4 | 0.0015259 | 0.000625
2 | 5 | I | 41
2 | 5 | I | 42
2 | 5 | J | 43
2 | 5 | J | 44
2 | 6 | K | 45
2 | 6 | K | 46
2 | 6 | L | 47
2 | 6 | L | 48
2 | 7 | M | 49 | Comp32 | 1132 |  | 5000 | LDV | D6 | D7 | 50 | 3 | 0.0076208 | 0.0003125
2 | 7 | M | 50 | Comp33 | 1133 |  | 3000 | LDV | E6 | E7 | 30 | 4 | 0.00045776 | 0.0001875
2 | 7 | N | 51
2 | 7 | N | 52
2 | 8 | O | 53
2 | 8 | O | 54
2 | 8 | P | 55
2 | 8 | P | 56